## MSH PACC Master Update 09132022
Tray Name | Serial | Specialty | Department | Last Inspection | Frequency | Next Inspection
PACC 2P MINOR SURGERY TRAY (CLINIC) | 2 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC 2P SURGERY I&D TRAY (CLINIC) | 3 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC 2P SURGERY TRAY DR. SVAHN (CLINIC) | 4 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. SMITH'S PLASTIC INSTRUMENTS (CLINICAL) | 5 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DENTAL | 6 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC - TRACHEOSTOMY TRAY | 9 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC A UFRICH FIRBEROPTIC RETRACTOR | 10 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC BASIC EAR INSTRUMENT SET | 11 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CALDWELL-LUC INSTRUMENT SET | 12 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. HO'S SINUS INSTRUMENT | 14 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. PORTNOY'S INSTRUMENT TRAY | 15 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ENDOSCOPIC BROWN LIFT INSTRUMENT SET | 16 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ENT HOSEMAN UPTURNED 70 DEGREE PUNCH | 17 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ENT PLASTIC INSTRUMENT SET | 18 |  | CENTRAL STERILE | 2020-05-06 | 60 | DUE NOW
PACC FUSION ENT NAVIGATION INSTRUMENT SET | 19 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC INSULATED BIPOLAR SCISSOR INTRUMENT SET | 21 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC KARL STORZ DOWNBITE KARRISON | 22 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LARYNGEAL BIPOLAR FORCEP & CABLE | 23 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LASER MICROLARGYNSCOPY INSTRUMENT SET | 24 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC MACRO LARYNGOSCOPY TRAY | 25 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC MEDTRONIC STRAIGHT SHOT MICRODEBRIDER M5 | 26 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC MICRO FRANCE BENNINGER LARYNGEAL INSTRUMENT TRAY | 27 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC MICRO FRANCE BOUCHAYER LARYNGEAL INSTRUMENT TRAY | 28 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SINUS INSTRUMENT SET - 001 | 33 |  | CENTRAL STERILE | 2019-02-06 | 60 | DUE NOW
PACC SINUS TRAY SUPPLEMENTAL INST | 34 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STAPEDECTOMY INSTRUMENT SET | 36 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STAPES EXTRA INSTRUMENT | 37 |  | CENTRAL STERILE |  | 60 | DUE NOW
CHELSEA/PACC BREAST TRAY | 39 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ASSORTED RETRACTOR TRAY | 40 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC A-V SHUNT INSTRUMENT SET | 41 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC FERRIS SMITH FORCEP( BD410R) | 45 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC GYN OPERATIVE LAPAROSCOPY SET | 46 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC HERNIA RETRACTOR | 49 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC HERNIA SALUTE FIXATION SYSTEM | 50 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SNAP OFF ICS PACC | 53 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SOHN'S ANAL DILATORS - PACC | 54 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STORZ - 5MM CURVED SCISSORS | 55 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STORZ - 5MM HOOK SCISSORS | 56 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STORZ 3MM PEDIATRIC LAPAROSCOPY SET | 57 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STORZ PEDIATRIC LAPAROSCOPIC HERNIA TRAY | 58 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC VASCULAR EMERGENCY INSTRUMENT SET | 59 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CO2 LASER TIP | 62 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DISPOSABLE SIGMOIDOSCOPY SET | 63 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. NAGLER'S MICRO INSTRUMENT TRAY | 64 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC GU STENT / RETROGRADE TRAY | 65 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC GU UNIVERSAL TRAY | 66 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC HYPOSPADIAS SET | 67 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LASER BRIDGE GU | 68 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LONESTAR RING RETRACTOR | 69 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC OLYMPUS VISUAL URETHROTOME | 70 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC RIGID GRASPING FORCEPS 3FR | 72 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC VISUAL URETHROTOME SET | 74 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC 2.9MM 12 RESECTOR SET (OPER) | 76 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CONE BIOPSY | 77 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC GYN LAPAROSCOPY TRAY - 002 | 79 |  | CENTRAL STERILE | 2019-03-20 | 60 | DUE NOW
PACC HYSTEROGRAM TRAY | 81 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC IUD RETRIEVER | 82 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LAPAROSCOPY - 005 | 83 |  | CENTRAL STERILE | 2019-03-20 | 60 | DUE NOW
PACC LAPAROSCOPY INSTRUMENT TRAY | 84 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LASER VAGINAL TISSUE | 85 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LEEP CONE BIOPSY | 86 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC LEEP LATERAL VAGINAL RETRACTOR | 87 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC MATTA PELVIC INSTRUMENT KIT | 88 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC TUBAL LIGATION TRAY | 90 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC TVT DEVICE INSTRUMENT | 91 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC VAGINAL TISSUE - 001 | 92 | GYN | CENTRAL STERILE | 2023-02-07 | 60 | DUE NOW
PACC DR. MELONE PIP IMPLANT TRAY | 93 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC KARL STORZ UPBITING KARRISON | 94 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PETRIE 02 | 95 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PETRIE 2 | 96 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PETRIE ORTHO TRAY | 97 | ORTHO | CENTRAL STERILE |  | 45 | DUE NOW
PACC PETRIE TRAY 01 | 98 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PETRIE TRAY 1 | 99 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PETRIE1 | 100 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CATARACT TRAY | 101 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DCR IMPLANT TRAY | 102 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC EYE ADJUSTABLE TRAY | 103 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC EYE MUSCLE TRAY | 104 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ACL GRAFT TRAY | 105 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ACL TRANSFIX GRAFT II TRAY | 106 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ACL TRAY | 107 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ARTHREX ACL & PCL TRAY | 108 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ARTHREX FLIP CUTTER | 109 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ARTHREX GRAFT PREP STATION SET | 110 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ARTHREX HIP ARTHROSCOPY INSTRUMENTS | 111 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ARTHREX HIP ARTHROSCOPY MASTER | 112 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ARTHROPLASTY #1 TRAY | 113 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC BASKET PUNCH | 114 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC BIO-INSTABILITY Y-KNOT LABRAL TRAY | 115 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CHISEL | 116 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC COBB ELEVATOR SET | 117 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC COBBS CURETTES | 118 | CURETTES | CENTRAL STERILE |  | 45 | DUE NOW
PACC CODMAN STILLE-HORSEY BONE CUTTER (30-1298) | 119 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CONMED CROSSFT BC BROACHING PUNCHES | 120 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC CURVED LARGE RICHARDS OSTEOTOMES | 121 | OSTEOTOMES | CENTRAL STERILE |  | 45 | DUE NOW
PACC DELTOID RETRACTOR | 122 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC DELTOID RETRACTOR WIDE BLADE #1 | 124 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC DR. CAVALIERE INST | 125 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. HUBBARD WRIGHT MEDICAL | 126 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. HUBBARD'S ASSORTED CURETTE | 127 | CURETTES | CENTRAL STERILE |  | 45 | DUE NOW
PACC DR. MELONE - DOUBLE ENDED RASP | 128 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE CARPEL TUNNEL TRAY / TRIGGER FINGER TRAY - 001 | 129 |  | CENTRAL STERILE | 2020-05-06 | 60 | DUE NOW
PACC DR. MELONE HERBERT BONE SCREW IMPLANT & INSTRUMENT | 132 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE HERBERT BONE SCREW INSTRUMENTS | 133 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE HERBERT MINI BONE SCREW & INST | 134 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE KARLIN CURRETTES | 136 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE MICRO INSTRUMENTS | 137 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE MICRO INSTRUMENTS #2 | 138 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. MELONE MODULAR HAND TRAY | 139 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. ROZBRUCH ARTHROSCOPY INSTRUMENTS | 140 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. TURTEL ACUFEX GRAFT BOARD ACL TRAY | 141 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR. VULCANO ELEVATOR SET | 142 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DVR CROSSLOCK HAND INNOVATION | 143 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DYOVAC SUCTION PUNCH 8 PICKS | 144 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC ENDOTRAC PLANTAR FASCIOTOMY TRAY | 145 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC FASTPASS SCORPION SL. | 146 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC FIBER TAPE CUTTER TRAY | 147 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC FOOT & ANKLE BONE INST EXTRAS | 148 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC HAND EXTRA INSTRUMENT | 150 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC HAND INNOVATION SET | 151 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC HOKE OSTEOTOMES SET | 153 | OSTEOTOMES | CENTRAL STERILE |  | 45 | DUE NOW
PACC LAMBOTTE OSTEOTOMES SET - 001 | 154 | OSTEOTOMES | CENTRAL STERILE | 2022-08-30 | 45 | DUE NOW
PACC ORTHO CURETTE TRAY | 159 | CURETTES | CENTRAL STERILE |  | 45 | DUE NOW
PACC ORTHO VASCULAR CLAMPS | 162 | ORTHO | CENTRAL STERILE |  | 45 | DUE NOW
PACC OSTEOTOMES | 163 | OSTEOTOMES | CENTRAL STERILE |  | 45 | DUE NOW
PACC OSTEOTOMY GUIDE MAPLOG | 164 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PERIOSTEAL ELEVATOR | 165 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC PIERSE MICRO FORCEP ROUND HANDLE | 166 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SHOULDER RETRACTOR TRAY | 167 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC SMALL JOINT BASKET PUNCH - 002 | 168 | GENERAL | CENTRAL STERILE | 2024-03-05 | 60 | DUE NOW
PACC SMALL JOINT TRAY | 169 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SMITH & NEPHEW FOOT & ANKLE INSTRUMENT TRAY | 170 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SPECTRUM II TRAY | 171 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC SPIDER LATERAL DECUBITUS TRAY | 172 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STEINMAN PINS PLAIN TRAY (PACC) | 173 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STEINMAN PINS THREADED TRAY (PACC) | 174 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC STRAIGHT CHISEL RICHARDS | 175 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC AUFRICH FIBEROPTIC RETRACTOR | 176 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC DEAVER FIBEROPTIC RETRACTOR SET | 177 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC DERMABRASION SET | 178 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC DR.SHIPS PLASTIC INSTRUMENT | 179 |  | CENTRAL STERILE |  | 60 | DUE NOW
PACC INVUITY EIKON ILLUMINATED RETRACTORS (BREAST) | 180 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC LIGHTED FIBEROPTIC RETRACTORS | 181 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC SERRATED FIBEROPTIC RETRACTOR | 183 | RETRACTORS | CENTRAL STERILE |  | 360 | DUE NOW
PACC ZIMMER OSTEOTOME | 184 | OSTEOTOMES | CENTRAL STERILE |  | 45 | DUE NOW
PACC SINUS INSTRUMENT SET - 002 | 195 |  | CENTRAL STERILE | 2019-02-27 | 60 | DUE NOW
PACC SINUS INSTRUMENT SET - 006 | 196 |  | CENTRAL STERILE | 2019-02-27 | 60 | DUE NOW
PACC SINUS INSTRUMENT SET - 004 | 197 |  | CENTRAL STERILE | 2019-02-27 | 60 | DUE NOW
PACC SINUS INSTRUMENT SET - 005 | 198 |  | CENTRAL STERILE | 2019-03-06 | 60 | DUE NOW
PACC SINUS INSTRUMENT SET - 003 | 199 |  | CENTRAL STERILE | 2019-03-06 | 60 | DUE NOW
PACC LAPAROSCOPY - 004 | 202 |  | CENTRAL STERILE | 2019-03-20 | 60 | DUE NOW
PACC DR. MELONE CARPEL TUNNEL TRAY / TRIGGER FINGER TRAY - 002 | 231 |  | CENTRAL STERILE | 2020-04-22 | 60 | DUE NOW
PACC DR. MELONE CARPEL TUNNEL TRAY / TRIGGER FINGER TRAY - 003 | 232 |  | CENTRAL STERILE | 2020-04-22 | 60 | DUE NOW
PACC DR. MELONE CARPEL TUNNEL TRAY / TRIGGER FINGER TRAY - 004 | 233 |  | CENTRAL STERILE | 2020-04-22 | 60 | DUE NOW
PACC DR. MELONE CARPEL TUNNEL TRAY / TRIGGER FINGER TRAY - 005 | 234 |  | CENTRAL STERILE | 2020-04-22 | 60 | DUE NOW
PACC STRYKER SCREW REMOVAL TRAY - 001 | 237 |  | CENTRAL STERILE | 2020-02-26 | 60 | DUE NOW
UROLOGY CLINIC TAPE REMOVAL | 240 | GU | CENTRAL STERILE | 2020-02-26 | 60 | DUE NOW
PACC HYSTERECTOMY TRAY - 001 | 10961-001 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC OPEN SHOULDER TRAY - 001 | 10984-001 | ORTHO | CENTRAL STERILE | 2025-03-11 | 45 | DUE NOW
PACC SYNTHES MODULAR HAND SYSTEM | 11050-001 | ORTHO | CENTRAL STERILE | 2024-04-09 | 60 | DUE NOW
PACC SYNTHES MODULAR HAND SYSTEM | 11050-002 | ORTHO | CENTRAL STERILE | 2024-04-09 | 60 | DUE NOW
PACC SYNTHES MODULAR HAND SYSTEM | 11050-003 | ORTHO | CENTRAL STERILE | 2024-04-09 | 60 | DUE NOW
PACC VEIN LIGATION INSTRUMENT SET - 001 | 11057-001 |  | CENTRAL STERILE | 2022-01-11 | 60 | DUE NOW
PACC VEIN LIGATION INSTRUMENT SET - 002 | 11057-002 |  | CENTRAL STERILE | 2022-05-24 | 60 | DUE NOW
PACC VEIN LIGATION INSTRUMENT SET - 003 | 11057-003 |  | CENTRAL STERILE | 2020-09-23 | 60 | DUE NOW
PACC DENTAL BASIC - 001 | 11061-001 |  | CENTRAL STERILE | 2024-01-02 | 60 | DUE NOW
PACC DENTAL BASIC - 002 | 11061-002 |  | CENTRAL STERILE | 2024-01-02 | 60 | DUE NOW
PACC PEDIATRIC MINOR TRAY - 001 | 11131-001 |  | CENTRAL STERILE | 2022-05-24 | 60 | DUE NOW
PACC PEDIATRIC MINOR TRAY - 002 | 11131-002 |  | CENTRAL STERILE | 2022-05-24 | 60 | DUE NOW
PACC DENTAL EXTRACTION - 001 | 11132-001 |  | CENTRAL STERILE | 2024-03-05 | 60 | DUE NOW
PACC DENTAL EXTRACTION - 002 | 11132-002 |  | CENTRAL STERILE | 2024-01-02 | 60 | DUE NOW
PACC PLASTIC TRAY - 001 | 11136-001 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC PLASTIC TRAY - 002 | 11136-002 |  | CENTRAL STERILE | 2024-03-12 | 60 | DUE NOW
PACC PLASTIC TRAY - 003 | 11136-003 |  | CENTRAL STERILE | 2022-01-04 | 60 | DUE NOW
PACC PLASTIC TRAY - 004 | 11136-004 |  | CENTRAL STERILE | 2022-01-04 | 60 | DUE NOW
PACC PLASTIC TRAY - 006 | 11136-006 |  | CENTRAL STERILE | 2019-07-10 | 60 | DUE NOW
PACC: LACRIMAL PROBE - 001 | 11145-001 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC MAJOR FOOT SET - 001 | 11155-001 |  | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
PACC MAJOR FOOT SET - 002 | 11155-002 |  | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
PACC MAJOR FOOT SET - 003 | 11155-003 |  | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
PACC MAJOR FOOT SET - 004 | 11155-004 |  | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
PACC MYRINGOTOMY INSTRUMENT SETS - 000 | 11158-000 |  | CENTRAL STERILE | 2024-03-26 | 60 | DUE NOW
PACC MYRINGOTOMY INSTRUMENT SETS - 001 | 11158-001 |  | CENTRAL STERILE | 2024-03-26 | 60 | DUE NOW
PACC MYRINGOTOMY INSTRUMENT SETS - 004 | 11158-004 |  | CENTRAL STERILE | 2024-03-19 | 60 | DUE NOW
PACC MYRINGOTOMY INSTRUMENT SETS - 005 | 11158-005 |  | CENTRAL STERILE | 2024-03-19 | 60 | DUE NOW
PACC TONSIL INSTRUMENT SET - 001 | 11160-001 |  | CENTRAL STERILE | 2020-09-16 | 60 | DUE NOW
PACC TONSIL INSTRUMENT SET - 003 | 11160-003 |  | CENTRAL STERILE | 2021-08-10 | 60 | DUE NOW
PACC TONSIL INSTRUMENT SET - 004 | 11160-004 |  | CENTRAL STERILE | 2022-01-11 | 60 | DUE NOW
PACC TONSIL INSTRUMENT SET - 005 | 11160-005 |  | CENTRAL STERILE | 2020-09-23 | 60 | DUE NOW
PACC SMR INSTRUMENT SET - 001 | 11167-001 |  | CENTRAL STERILE | 2021-03-23 | 60 | DUE NOW
PACC SMR INSTRUMENT SET - 002 | 11167-002 |  | CENTRAL STERILE | 2021-03-23 | 60 | DUE NOW
PACC SMR INSTRUMENT SET - 003 | 11167-003 |  | CENTRAL STERILE | 2022-03-01 | 60 | DUE NOW
PACC SMR INSTRUMENT SET - 004 | 11167-004 |  | CENTRAL STERILE | 2021-03-09 | 60 | DUE NOW
PACC SMR INSTRUMENT SET - 005 | 11167-005 |  | CENTRAL STERILE | 2021-12-21 | 60 | DUE NOW
PACC SMR INSTRUMENT SET - 006 | 11167-006 |  | CENTRAL STERILE | 2021-03-09 | 60 | DUE NOW
PACC BASIC TRAYS - 001 | 11177-001 |  | CENTRAL STERILE | 2022-10-11 | 60 | DUE NOW
PACC BASIC TRAYS - 002 | 11177-002 |  | CENTRAL STERILE | 2023-03-14 | 60 | DUE NOW
PACC BASIC TRAYS - 003 | 11177-003 |  | CENTRAL STERILE | 2023-03-14 | 60 | DUE NOW
PACC BASIC TRAYS - 004 | 11177-004 |  | CENTRAL STERILE | 2024-03-26 | 60 | DUE NOW
PACC BASIC TRAYS - 005 | 11177-005 |  | CENTRAL STERILE | 2022-08-16 | 60 | DUE NOW
PACC BASIC TRAYS - 006 | 11177-006 |  | CENTRAL STERILE | 2023-03-14 | 60 | DUE NOW
PACC BASIC TRAYS - 007 | 11177-007 |  | CENTRAL STERILE | 2022-07-12 | 60 | DUE NOW
PACC D&C TRAY - 001 | 11178-001 |  | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
PACC D&C TRAY - 003 | 11178-003 |  | CENTRAL STERILE | 2019-05-29 | 60 | DUE NOW
PACC D&C TRAY - 004 | 11178-004 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC D&C TRAY - 005 | 11178-005 |  | CENTRAL STERILE | 2020-12-02 | 60 | DUE NOW
PACC BREAST TRAY - 001 | 11181-001 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC BREAST TRAY - 002 | 11181-002 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC BREAST TRAY - 003 | 11181-003 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC BREAST TRAY - 004 | 11181-004 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 001 | 11183-001 |  | CENTRAL STERILE | 2020-07-08 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 002 | 11183-002 |  | CENTRAL STERILE | 2022-03-08 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 003 | 11183-003 |  | CENTRAL STERILE | 2021-10-26 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 004 | 11183-004 |  | CENTRAL STERILE | 2020-07-08 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 005 | 11183-005 |  | CENTRAL STERILE | 2020-07-29 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 006 | 11183-006 |  | CENTRAL STERILE | 2020-07-29 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 007 | 11183-007 |  | CENTRAL STERILE | 2020-08-12 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 008 | 11183-008 |  | CENTRAL STERILE | 2020-07-29 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 009 | 11183-009 |  | CENTRAL STERILE | 2020-07-29 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 011 | 11183-011 |  | CENTRAL STERILE | 2022-10-18 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 014 | 11183-014 |  | CENTRAL STERILE | 2022-01-04 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 015 | 11183-015 |  | CENTRAL STERILE | 2022-01-04 | 60 | DUE NOW
PACC LARGE JOINT ARTHROSCOPY - 016 | 11183-016 |  | CENTRAL STERILE | 2021-10-26 | 60 | DUE NOW
PACC FOOT TRAY - 002 | 11847-002 |  | CENTRAL STERILE | 2025-02-11 | 60 | DUE NOW
PACC FOOT TRAY - 004 | 11847-004 |  | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
PACC FOOT TRAY - 005 | 11847-005 |  | CENTRAL STERILE | 2025-02-04 | 60 | DUE NOW
PACC FOOT TRAY - 009 | 11847-009 |  | CENTRAL STERILE | 2025-02-11 | 60 | DUE NOW
PACC HAND TRAY - 007 | 11871-007 |  | CENTRAL STERILE | 2022-10-25 | 60 | DUE NOW
PACC ORTHO MINOR - 001 | 11916-001 | ORTHO | CENTRAL STERILE | 2025-03-04 | 45 | DUE NOW
PACC ORTHO MINOR - 002 | 11916-002 | ORTHO | CENTRAL STERILE | 2025-03-04 | 45 | DUE NOW
PACC ORTHO MINOR - 003 | 11916-003 | ORTHO | CENTRAL STERILE | 2025-03-04 | 45 | DUE NOW
PACC ORTHO MINOR - 004 | 11916-004 | ORTHO | CENTRAL STERILE | 2025-03-04 | 45 | DUE NOW
PACC ORTHO MICRO INSTRUMENTS - 001 | 11919-001 | ORTHO | CENTRAL STERILE | 2024-06-11 | 45 | DUE NOW
CURETTES BRUNS SPINE / ORTHO | 1218-001 | CURETTES | CENTRAL STERILE | 2024-09-12 | 45 | DUE NOW
PACC LINVATEC HAND DRILL SET - 004 | 14404-004 |  | CENTRAL STERILE | 2021-05-11 | 60 | DUE NOW
TRANSPLANT LIVER RECIPIENT | 148-012 | CURETTES | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
URETHROPLASTY TRAY - 001 | 14974-001 |  | CENTRAL STERILE | 2022-01-04 | 60 | DUE NOW
BASIC RETR SPINE / ORTHO | 1525-006 |  | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
BASIC INST SPINE / ORTHO | 1527-001 |  | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
PACC: OLYMPUS GU CAMERA HEAD - 003 | 15803-003 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: OLYMPUS GU CAMERA HEAD - 008 | 15803-008 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
OLYMPUS GU UNIVERSAL TRAY UNIVERSAL - 003 | 15835-003 |  | CENTRAL STERILE | 2024-04-23 | 60 | DUE NOW
STRINGER ADULT BASIC | 164-001 |  | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
PACC: DR MELONE HERBERT SCREW BACK UP TRAY - 001 | 16768-001 |  | CENTRAL STERILE | 2024-01-02 | 60 | DUE NOW
PACC SLING TRAY - 002 | 16889-002 |  | CENTRAL STERILE | 2021-08-17 | 60 | DUE NOW
PACC SLING TRAY - 004 | 16889-004 |  | CENTRAL STERILE | 2020-05-13 | 60 | DUE NOW
PACC SLING TRAY - 005 | 16889-005 |  | CENTRAL STERILE | 2020-05-20 | 60 | DUE NOW
PACC HEMORRHOID LASER INSTRUMENTS - 001 | 16945-001 |  | CENTRAL STERILE | 2025-01-14 | 60 | DUE NOW
PACC HEMORRHOID LASER INSTRUMENTS - 002 | 16945-002 |  | CENTRAL STERILE | 2021-03-09 | 60 | DUE NOW
PACC UROLOGY MINOR TRAY - 001 | 18622-001 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC UROLOGY MINOR TRAY - 002 | 18622-002 |  | CENTRAL STERILE | 2022-06-14 | 60 | DUE NOW
PACC: MICRO FRACTURE TRAY - 001 | 18750-001 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-002 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-003 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-004 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-007 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-009 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-011 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-012 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
CHELSEA D&C TRAY GYN | 18861-013 | GYN | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
PACC HAND TRAY A - 004 | 20321-004 |  | CENTRAL STERILE | 2021-08-10 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 001 | 21907-001 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 002 | 21907-002 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 003 | 21907-003 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 005 | 21907-005 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 006 | 21907-006 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 007 | 21907-007 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO SET - 008 | 21907-008 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
CLINIC 23RD ST 2ND FLOOR CLINICS | 23710-084 | GU | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
CHELSEA DERMATOLOGY LAYERS TRAY - 001 | 23894-001 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY LAYERS TRAY - 008 | 23894-008 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY LAYERS TRAY - 009 | 23894-009 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY LAYERS TRAY - 010 | 23894-010 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY LAYERS TRAY - 013 | 23894-013 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY FACE TRAY - 005 | 23895-005 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY FACE TRAY - 014 | 23895-014 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
CHELSEA DERMATOLOGY BODY TRAY - 003 | 23896-003 | GYN | CENTRAL STERILE | 2025-03-04 | 60 | DUE NOW
CHELSEA DERMATOLOGY BODY TRAY - 006 | 23896-006 | GYN | CENTRAL STERILE | 2025-03-04 | 60 | DUE NOW
CHELSEA DERMATOLOGY BODY TRAY - 011 | 23896-011 | GYN | CENTRAL STERILE | 2025-02-25 | 60 | DUE NOW
LAMINECTOMY RETRACTOR SPINE / ORTHO | 3150-006 |  | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
ULTRASOUND PROSTATE BIOPSY PROBE | 3905561-002 | GU | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
PACC3M PODIATRY SET | 3MPOD |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
PACC TAPE COLOR REMOVAL | 8-29-24 |  | CENTRAL STERILE | 2024-08-29 | 60 | DUE NOW
RETRACTOR ADULT BASIC | 887-001 |  | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
PACC TAPE COLOR REMOVAL | 9-12-24 |  | CENTRAL STERILE | 2024-09-12 | 60 | DUE NOW
PACC TAPE COLOR REMOVAL | 9-4-24 |  | CENTRAL STERILE | 2024-09-04 | 60 | DUE NOW
ACUMED ACUTRACK 2 SELF DRILLING HEADLESS COMPRESSION - 002 | ACUSD - 002 |  | CENTRAL STERILE | 2024-04-09 | 60 | DUE NOW
BAG 24 | BAG-24 | GENERAL | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
PACC BASIC SURGERY - 016 | BSS-016 |  | CENTRAL STERILE | 2024-08-29 | 60 | DUE NOW
BODY TRAY MISC - 000 | BTM-000 | GYN | CENTRAL STERILE | 2025-03-04 | 60 | DUE NOW
PACC COMMON DUCT - 003 | CD-003 |  | CENTRAL STERILE | 2022-01-25 | 60 | DUE NOW
PACC DR. MELONE HOKE OSTEOTOMES - 002 | DMHO-002 | OSTEOTOMES | CENTRAL STERILE | 2020-12-30 | 45 | DUE NOW
PACC DR. MELONE INSTRUMENT | DMI |  | CENTRAL STERILE | 2020-07-29 | 60 | DUE NOW
DR GOLDMAN - 001 | DRG-001 | GENERAL | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
EAR INSTITUTE EAR - 001 | EI-001 |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
EAR INSTITUTE EAR - 002 | EI-002 |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
EAR INSTITUTE EAR - 003 | EI-003 |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
EAR INSTITUTE EAR - 004 | EI-004 |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
PACC: GU OLYMPUS FLEXIBLE DIGITAL URETEROSCOPE - 004 | GUFD-004 |  | CENTRAL STERILE | 2024-01-02 | 60 | DUE NOW
PACC: GU OLYMPUS FLEXIBLE DIGITAL URETEROSCOPE - 006 | GUFD-006 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: GU OLYMPUS FLEXIBLE DIGITAL URETEROSCOPE - 007 | GUFD-007 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
PACC: KOELIS STEADY PRO & LINEAR GRID - 004 | KSPL-004 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
MISC TRAY ORTHO - 000 | MIOR-000 | ORTHO | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
MISC SET GENERAL - 000 | MISCGE-000 | GENERAL | CENTRAL STERILE | 2024-04-30 | 60 | DUE NOW
MISC SET GENERAL - 001 | MISCGE-001 | GENERAL | CENTRAL STERILE | 2024-04-30 | 60 | DUE NOW
MISC SET GENERAL - 003 | MISCGE-002 | GENERAL | CENTRAL STERILE | 2024-04-30 | 60 | DUE NOW
OCUPLASTICS TRAY PLASTICS - 001 | OTPL-001 |  | CENTRAL STERILE | 2024-04-30 | 60 | DUE NOW
PACC PETRIE D&C - 002 | PDC-002 |  | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
PACC PETRIE D&C - 005 | PDC-005 |  | CENTRAL STERILE | 2024-06-11 | 60 | DUE NOW
PACC GYN TRAY - 03E | PGT-03E |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
PACC PLASTIC COLEMAN LIPOSUCTION CANNULA - 001 | PLCLS-001 |  | CENTRAL STERILE | 2024-06-04 | 60 | DUE NOW
PACC MARTIN ARM RETRACTOR SET – 001 | PMARS-001 |  | CENTRAL STERILE | 2021-02-24 | 60 | DUE NOW
PACC ORTHO TRAY - 001 | POT-001 | ORTHO | CENTRAL STERILE | 2022-02-08 | 45 | DUE NOW
PACC PAIN MANAGEMENT ASSORTED RETRACTOR TRAY – 002 | PPMART-002 |  | CENTRAL STERILE | 2020-09-30 | 60 | DUE NOW
PACC PENILE PROSTHESIS TRAY 003 | PPP-003 | GU | CENTRAL STERILE | 2022-02-08 | 60 | DUE NOW
PACC PENILE PROSTHESIS TRAY 004 | PPP-004 | GU | CENTRAL STERILE | 2022-03-01 | 60 | DUE NOW
PACC VAGINAL HYSTERECTOMY TRAY - 001 | PVHT-001 | GYN | CENTRAL STERILE | 2020-09-30 | 60 | DUE NOW
STRYKER VARIAX 2 CORE TRAY - 002 | STVCT-002 |  | CENTRAL STERILE | 2024-04-30 | 60 | DUE NOW
STRYKER VARIAX DISTAL RADIUS LOCKING PLATE SYSTEM - 000 | STVDL-000 |  | CENTRAL STERILE | 2024-04-30 | 60 | DUE NOW
SYNTHES WIRE INSTRUMENT | SWI - 001 |  | CENTRAL STERILE | 2023-12-12 | 60 | DUE NOW
TRANSPORTAL ACL GUIDE - 003 | TAG-003 | ORTHO | CENTRAL STERILE | 2025-01-28 | 60 | DUE NOW
INSTRUMENTS FOR 257 7TH AVE - 001 |  | GYN | CENTRAL STERILE | 2024-06-21 | 60 | DUE NOW
INSTRUMENTS FOR 257 7TH AVE - 002 |  |  | CENTRAL STERILE | 2024-06-21 | 60 | DUE NOW
STRYKER ASNIS 4.0 CANNULATED SCREW - 001 |  |  | CENTRAL STERILE | 2024-03-05 | 60 | DUE NOW
STRYKER VARIAX FOOT - 001 |  |  | CENTRAL STERILE | 2024-03-05 | 60 | DUE NOW
PACC - GYN BOOKWALTER HANDLE & RETRACTOR | 75 | RETRACTORS | CENTRAL STERILE | 2026-03-03 | 360 | 2027-02-26
PACC DELTOID RETRACTOR NARROW BLADE #1 | 123 | RETRACTORS | CENTRAL STERILE | 2026-03-03 | 360 | 2027-02-26
MIDAS DRILL 2 PCS - 001 | 26000-001 |  | CENTRAL STERILE | 2026-03-03 | 60 | 2026-05-02
PACC DENTAL MIS IMPLANT KIT - 001 | PDMIK-001 |  | CENTRAL STERILE | 2026-03-03 | 60 | 2026-05-02
5B ENT |  |  | CENTRAL STERILE | 2026-03-03 | 60 | 2026-05-02
ACL POST CREWS - 002 |  | ORTHO | CENTRAL STERILE | 2026-03-03 | 60 | 2026-05-02
5B DENTAL/ENT |  |  | CENTRAL STERILE | 2026-03-03 | 60 | 2026-05-02
PETRIE BASIC PEDIATRIC TRAY - 001 |  |  | CENTRAL STERILE | 2026-02-24 | 60 | 2026-04-25
CHELSEA D&C SUPPLEMENTAL TRAY - 002 |  | GYN | CENTRAL STERILE | 2026-02-24 | 60 | 2026-04-25
PACC CHEEK/CHIN TRAY | 13 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
PACC LARGE JOINT ARTHROSCOPY - 010 | 11183-010 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
PACC LARGE JOINT ARTHROSCOPY - 012 | 11183-012 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
PACC LARGE JOINT ARTHROSCOPY - 013 | 11183-013 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
PACC NASAL RECONSTRUCTION TRAY | 14509-003 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
MASTOID/TYMPANOPLASTY SET - 001 | 23181-001 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
MASTOID/TYMPANOPLASTY SET - 003 | 23181-003 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
MASTOID/TYMPANOPLASTY SET - 004 | 23181-004 |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
PACC PLASTIC CONTAINER |  |  | CENTRAL STERILE | 2026-02-17 | 60 | 2026-04-18
PACC HEMORRHOID INSTRUMENT TRAY - 001 | 11166-001 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEMORRHOID INSTRUMENT TRAY - 002 | 11166-002 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEMORRHOID INSTRUMENT TRAY - 003 | 11166-003 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEMORRHOID INSTRUMENT TRAY - 004 | 11166-004 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEMORRHOID INSTRUMENT TRAY - 005 | 11166-005 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEMORRHOID INSTRUMENT TRAY - 006 | 11166-006 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEMORRHOID INSTRUMENT TRAY - 007 | 11166-007 |  | CENTRAL STERILE | 2026-02-03 | 60 | 2026-04-04
PACC HEAD & NECK INSTRUMENT SET - 001 | 11084-001 |  | CENTRAL STERILE | 2026-01-13 | 60 | 2026-03-14
PACC SLING TRAY - 001 | 16889-001 |  | CENTRAL STERILE | 2026-01-13 | 60 | 2026-03-14
ACUMED ARC WRIST TOWER TRAY #2 - 001 2 OF 2 |  |  | CENTRAL STERILE | 2026-01-13 | 60 | 2026-03-14
ACUMED ARC WRIST TOWER TRAY #2 - 001 2 OF 2 |  |  | CENTRAL STERILE | 2026-01-13 | 60 | 2026-03-14
PACC TISSUE TRAY - 001 | 11147-001 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC TISSUE TRAY - 002 | 11147-002 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC TISSUE TRAY - 003 | 11147-003 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC TISSUE TRAY - 004 | 11147-004 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC TISSUE TRAY - 005 | 11147-005 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC TISSUE TRAY - 006 | 11147-006 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC TISSUE TRAY - 007 | 11147-007 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC CIRCUMCISION TRAY - 001 | 11164-001 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC CIRCUMCISION TRAY - 002 | 11164-002 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC CIRCUMCISION TRAY - 003 | 11164-003 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC CIRCUMCISION TRAY - 004 | 11164-004 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC CIRCUMCISION TRAY - 005 | 11164-005 |  | CENTRAL STERILE | 2025-12-30 | 60 | 2026-02-28
PACC OPEN SHOULDER TRAY - 002 | 10984-002 | ORTHO | CENTRAL STERILE | 2026-01-13 | 45 | 2026-02-27
PACC HEAD & NECK INSTRUMENT SET - 002 | 11084-002 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
PACC HEAD & NECK INSTRUMENT SET - 003 | 11084-003 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
PACC HEAD & NECK INSTRUMENT SET - 004 | 11084-004 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
PACC HEAD & NECK INSTRUMENT SET - 005 | 11084-005 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
PACC HEAD & NECK INSTRUMENT SET - 006 | 11084-006 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
PACC HEAD & NECK INSTRUMENT SET - 007 | 11084-007 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
DR. SCHABERG INSTRUMENT SET - 001 | DSIS-001 |  | CENTRAL STERILE | 2025-12-16 | 60 | 2026-02-14
PACC DR. MELONE CARPAL TUNNEL TRAY - 003 | 14440-003 |  | CENTRAL STERILE | 2025-11-18 | 60 | 2026-01-17
PACC DR. MELONE CARPAL TUNNEL TRAY - 004 | 14440-004 |  | CENTRAL STERILE | 2025-11-18 | 60 | 2026-01-17
PACC DR. MELONE CARPAL TUNNEL TRAY - 005 | 14440-005 |  | CENTRAL STERILE | 2025-11-18 | 60 | 2026-01-17
PACC DR. MELONE HAND TRAY - 001 | 14490-001 |  | CENTRAL STERILE | 2025-11-18 | 60 | 2026-01-17
PACC DR. MELONE HAND TRAY - 002 | 14490-002 |  | CENTRAL STERILE | 2025-11-18 | 60 | 2026-01-17
PACC DR. MELONE HAND TRAY - 010 | 14490-010 |  | CENTRAL STERILE | 2025-11-18 | 60 | 2026-01-17
PACC COMMON DUCT - 001 | 11040-001 |  | CENTRAL STERILE | 2025-11-04 | 60 | 2026-01-03
PACC COMMON DUCT - 002 | 11040-002 |  | CENTRAL STERILE | 2025-11-04 | 60 | 2026-01-03
PACC SLING TRAY - 003 | 16889-003 |  | CENTRAL STERILE | 2025-11-04 | 60 | 2026-01-03
PACC DEEP SURGERY SET - 002 | 11130-002 |  | CENTRAL STERILE | 2025-10-28 | 60 | 2025-12-27
PACC DEEP SURGERY SET - 003 | 11130-003 |  | CENTRAL STERILE | 2025-10-28 | 60 | 2025-12-27
CATHETER INSERTION TRAY - 001 | 11058-001 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
CATHETER INSERTION TRAY - 002 | 11058-002 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY - 004 | 11871-004 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY - 005 | 11871-005 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY A - 001 | 20321-001 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY A - 002 | 20321-002 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY A - 003 | 20321-003 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY A - 005 | 20321-005 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HAND TRAY A - 006 | 20321-006 |  | CENTRAL STERILE | 2025-10-21 | 60 | 2025-12-20
PACC HEAD & NECK INSTRUMENT SET - 008 | 11084-008 |  | CENTRAL STERILE | 2025-10-14 | 60 | 2025-12-13
PACC HAND TRAY - 001 | 11871-001 |  | CENTRAL STERILE | 2025-10-07 | 60 | 2025-12-06
PACC HAND TRAY - 002 | 11871-002 |  | CENTRAL STERILE | 2025-10-07 | 60 | 2025-12-06
PACC HAND TRAY - 003 | 11871-003 |  | CENTRAL STERILE | 2025-10-07 | 60 | 2025-12-06
PACC HAND TRAY - 006 | 11871-006 |  | CENTRAL STERILE | 2025-10-07 | 60 | 2025-12-06
ENT FACIAL PLASTICS - 001 | 243 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
ENT FACIAL PLASTICS - 003 | 244 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
ENT FACIAL PLASTICS - 004 | 245 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
PACC CLINIC 5D ENT FACIAL - 002 | 246 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
PACC DEEP SURGERY SET - 001 | 11130-001 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
PACC BASIC TRAYS - 008 | 11177-008 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
PACC BASIC TRAYS - 009 | 11177-009 |  | CENTRAL STERILE | 2025-09-23 | 60 | 2025-11-22
PACC DR. MELONE CARPAL TUNNEL TRAY - 001 | 14440-001 |  | CENTRAL STERILE | 2025-09-16 | 60 | 2025-11-15
PACC DR. MELONE CARPAL TUNNEL TRAY - 002 | 14440-002 |  | CENTRAL STERILE | 2025-09-16 | 60 | 2025-11-15
PACC FOOT TRAY - 001 | 11847-001 |  | CENTRAL STERILE | 2025-08-05 | 60 | 2025-10-04
PACC FOOT TRAY - 003 | 11847-003 |  | CENTRAL STERILE | 2025-08-05 | 60 | 2025-10-04
PACC FOOT TRAY - 010 | 11847-010 |  | CENTRAL STERILE | 2025-08-05 | 60 | 2025-10-04
PACC NASAL RECONSTRUCTION TRAY | 14509-002 |  | CENTRAL STERILE | 2025-08-05 | 60 | 2025-10-04
DR ROZBRUNCH ARTHROSCOPY INSTRUMENTS - 002 | DRAI-002 |  | CENTRAL STERILE | 2025-08-05 | 60 | 2025-10-04
PACC DR. MELONE HOKE OSTEOTOMES - 001 | 15283-001 | OSTEOTOMES | CENTRAL STERILE | 2025-08-12 | 45 | 2025-09-26
PACC SWISS PATTERN OSTEOTOMES SET - 001 | PSPO-001 | OSTEOTOMES | CENTRAL STERILE | 2025-08-12 | 45 | 2025-09-26
MASTOID/TYMPANOPLASTY SET - 002 | 23181-002 |  | CENTRAL STERILE | 2025-07-22 | 60 | 2025-09-20
PACC FOOT TRAY - 006 | 11847-006 |  | CENTRAL STERILE | 2025-07-01 | 60 | 2025-08-30
PACC FOOT TRAY - 007 | 11847-007 |  | CENTRAL STERILE | 2025-07-01 | 60 | 2025-08-30
PACC FOOT TRAY - 008 | 11847-008 |  | CENTRAL STERILE | 2025-07-01 | 60 | 2025-08-30
BASIC VASCULAR RETRACTOR TRAY - 006 | 241 |  | CENTRAL STERILE | 2025-06-24 | 60 | 2025-08-23
ZIMMER DERMATONE CENT - 004 | 242 |  | CENTRAL STERILE | 2025-06-24 | 60 | 2025-08-23
PACC VASCULAR BASIC - 001 | 60 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
OPERATIVE LAP - 003 | 89 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
PACC MICRO LARYNGOSCOPY TRAY - 001 | 11081-001 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
PACC MICRO LARYNGOSCOPY TRAY - 002 | 11081-002 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
MYRINGOTOMY TRAY - 003 | BI71149-003 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
COLEMAN CANNULA LIPOSUCTION TRAY | BL10000-002 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
MICRO FRANCE TRAY - 001 | MFT-001 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
MICROFRANCE #07 | MFT-007 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
PACC PLASTIC COLEMAN LIPOSUCTION CANNULA - 001 | PLCLS-003 |  | CENTRAL STERILE | 2025-06-10 | 60 | 2025-08-09
CHELSEA DERMATOLOGY FACE TRAY - 002 | 23895-002 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 003 | 23895-003 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 004 | 23895-004 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 007 | 23895-007 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 008 | 23895-008 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 009 | 23895-009 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 010 | 23895-010 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 012 | 23895-012 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 013 | 23895-013 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA DERMATOLOGY FACE TRAY - 016 | 23895-016 | GYN | CENTRAL STERILE | 2025-05-20 | 60 | 2025-07-19
CHELSEA VAGINAL HYSTERECTOMY TRAY - 001 | 8597-001 | GYN | CENTRAL STERILE | 2025-05-13 | 60 | 2025-07-12
CHELSEA VAGINAL HYSTERECTOMY TRAY - 002 | 8597-002 | GYN | CENTRAL STERILE | 2025-05-13 | 60 | 2025-07-12
CHELSEA VAGINAL HYSTERECTOMY TRAY - 003 | 8597-003 | GYN | CENTRAL STERILE | 2025-05-13 | 60 | 2025-07-12
CHELSEA D&C TRAY GYN | 18861-017 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY LAYERS TRAY - 002 | 23894-002 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY FACE TRAY - 001 | 23895-001 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY FACE TRAY - 006 | 23895-006 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY FACE TRAY - 011 | 23895-011 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY FACE TRAY - 015 | 23895-015 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY BODY TRAY - 001 | 23896-001 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY BODY TRAY - 002 | 23896-002 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY BODY TRAY - 004 | 23896-004 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY BODY TRAY - 007 | 23896-007 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
CHELSEA DERMATOLOGY BODY TRAY - 009 | 23896-009 | GYN | CENTRAL STERILE | 2025-05-06 | 60 | 2025-07-05
PACC PEDIATRIC UROLOGY MINOR - 001 | 11119-001 |  | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC PEDIATRIC UROLOGY MINOR - 002 | 11119-002 |  | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC PEDIATRIC BASIC TRAY - 001 | 17508-001 |  | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC PEDIATRIC BASIC TRAY - 002 | 17508-002 |  | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
CHELSEA MINOR TRAY - 007 | CMT-007 | GYN | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC CLINIC SA - UROLOGY - 001 | PACC-3A | GU | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC CLINIC 3E - OBGYN - FPA1 | PACC-3E | OBGYN | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC CLINIC 5B | PACC-5B |  | CENTRAL STERILE | 2025-04-22 | 60 | 2025-06-21
PACC DR. MELONE HAND TRAY - 003 | 14490-003 |  | CENTRAL STERILE | 2025-04-08 | 60 | 2025-06-07
PACC DR. MELONE HAND TRAY - 004 | 14490-004 |  | CENTRAL STERILE | 2025-04-08 | 60 | 2025-06-07
PACC NASAL RECONSTRUCTION TRAY | 14509-001 |  | CENTRAL STERILE | 2025-04-08 | 60 | 2025-06-07
CLINIC CHELSEA DERMATOLOGY REPAIR KIT – 001 | 23691-001 | GYN | CENTRAL STERILE | 2025-04-08 | 60 | 2025-06-07
PACC DR. MELONE HAND TRAY - 005 | 14490-005 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC DR. MELONE HAND TRAY - 006 | 14490-006 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC DR. MELONE HAND TRAY - 007 | 14490-007 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC DR. MELONE HAND TRAY - 008 | 14490-008 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC DR. MELONE HAND TRAY - 009 | 14490-009 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC DR. MELONE HAND TRAY - 011 | 14490-011 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC DR. MELONE HAND TRAY - 012 | 14490-012 |  | CENTRAL STERILE | 2025-04-01 | 60 | 2025-05-31
PACC MINIMALLY INVASIVE INSTRUMENT SET - 001 | 22024-001 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 002 | 22024-002 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 003 | 22024-003 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 004 | 22024-004 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 005 | 22024-005 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 006 | 22024-006 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 007 | 22024-007 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
PACC MINIMALLY INVASIVE INSTRUMENT SET - 008 | 22024-008 |  | CENTRAL STERILE | 2025-03-25 | 60 | 2025-05-24
Formulas:
Next Inspection = [Last Inspection]+[Frequency]
Next Inspection = [Frequency]+[Last Inspection]